## Slide 1: Flexi-TEER Arduino Code

## Slide 2: Needed Modules
Packages
pcf8574t I2C LCD library
ADS1015IDGSR library
Some MQTT library (maybe pubsubclient)—(ArduinoMQTTClient)
Wifi library --(wifiNINA)
JSON library

## Slide 3: Needed Functions
Flip pin V to GND and back to determine freq and current of signal through cells
Read off ADC after set period of time
Publish to MQTT broker via wifi
Read off operating instructions via MQTT broker
Enable and Disable all ICs to modulate their on/off state to either take a measurement or conserve power, respectively.
Cycle through electrodes
Calibrate current
Connect to wifi and wait until connected

## Slide 4: MQTT topic breakdown
Send
Electrode_#/time
Electrode_#/voltage
Receive
requests/electrodes : what exact electrode numbers are desired to be read from
requests/cycle_count: how many cycles to average over
Requests/samples_per_cycle : how many time per cycle should it be sampled and averaged.
requests/frequency : frequency to have signal at
requests/constant_current : current to send through cells

## Slide 5: Python functions
Error for too many projected requests per second
Function that wraps electrodes, freq, current, samples/sec, cycles/sample over in a way and sends to Arduino
Function to establish connection with Arduino
Function to output data into excel sheet with time stamps